CENTRAL BOARD OF SECONDARY EDUCATION

SHIKSHA KENDRA, 2, COMMUNITY CENTRE

PREET VIHAR,   DELHI-1100092

TENDER NOTICE

Sealed tenders are invited from reputed agencies for repair/augmentation of Fire installation comprising Wetriser, Sprinkler, fire detection & alarm system.  The agencies which have 5 years experience and executed two similar works of value Rs. 4.0 lakh or more for Wetriser Work & Rs. 2.0 lakh or more for Detection & alarm system shall be eligible to apply.

Name of Works	            : (i)  Repair & augmentation of Wetriser/Sprinkler System.

(ii) Repir & augmentation of Fire detection & alarm system.

Estimated Cost	: Rs. 9.2 lakh

Cost of Tender	: Rs. 500/-

EMD	: Rs. 20000/- payable through DD/BD in f/o Secretary, CBSE

Sale of Tenders	: Upto 15.5.08 from Syndicate Bank,CBSE Bldg., Preet Vihar

on all working days between 10.00 a.m. to 1.00 p.m.

Submission of Tenders	: 16.05.08 upto 2.00 p.m.

Opening of Tenders	: On 16.05.08 at 2.30 p.m.

Note:  (i)	For further details & down-loading of tender: Kindly visit our website www.cbse.nic.in

- Being repair & augmentation work agencies are advised to visit the building for           proper evaluation of work.

- Agencies may even quote for any one part.

JT. SECRETARY ( A & L)

SCHDULE OF WORK – (PART-I)

Name of Work :  Repair/augmentation of Wetriser/Sprinkler System.

Sl. No.	   Description of Item				       Qty          Rate 	           Amount

1. 	Servicing of Main fire-pumps Kirloskar Make	02 nos.

DS M 5 B – 125x100 mm, 90 Mtr. head &

1482 RPM

2.  	Servicing/repair of Main-sprinkler pumps 	02 nos.

Kirloskar Make DS M 4 MB – 150x125 mm,

50 Mtr. head & 1450 RPM

3.	Servicing of Jockey Pump Kirloskar Make	01 nos.

DB 32/26 2900 RPM with 90 Mtr. Head

4.	Servicing/repair of Sprinkler Jockey Pump	01 no.

Kirloskar Make – Mono block Type – 1065

5.	Servicing of double flanged Kirloskar Make

sluice valves of rating PN – 1 with non-rising

spindle bronze/Gun metal seat ISI marked.

150 mm dia	5 nos.

100 mm dia	4 nos.

80 mm dia	3 nos.

6.  	Servicing/repair of dual plate Kirloskar/CUSA

Non-return valve rating PN-1

150 mm dia	6 nos.

100 mm dia	3 nos.

80 mm dia	3 nos.

6A	Supplying & fixing dual plate NRV of following

sizes confirming to IS: 5312 complete  with rubber

gasket, nut bolts, washers etc. as required

150 mm dia	2 nos.

80 mm dia	2 nos.

7.	Supplying & fixing of Gate valve  Leader	1 no

Make/ISI marked after replacing old gate valves.

65 mm 	1 no.

32 mm 	2 nos.

25 mm 	4 nos.

- Supplying & fixing  of CI/SS foot valves of

reputed make after  replacing old gate valves.

150 mm dia	4 nos.

100 mm dia	2 nos.

80 mm dia	1 nos.

9.	Supplying & fixing MS C-class Heavy duty

pipe conforming to IS: 3589/1239 i/c fittings

like elbows, tees, tapers, gaskets,

after replacing old pipe through gas welding.  The

new pipe shall be painted with two or more coats

of synthetic enamel paint as approved.

etc.

150 mm dia	20 mtr.

100 mm dia	10 mtr.

80 mm dia	10 mtr.

32 mm dia	40 mtr.

25 mm dia	20 mtr.

10.	Supplying & fixing of butterfly valve PN 1.6 with

Bronze/Gun metal seat duly ISI marked complete

Nut Bolts, Washers, gaskets etc. conforming to IS:

13095 complete in place of sluice valve

150 mm	1 nos.

100 mm 	3 nos.

11. 	Supplying & fixing single headed internal 	3 nos.

hydrant valve with instantaneous Gun metal

coupling of 63 mm dia with cast iron wheel ISI

Marked conforming to IS 5290 (Type-A) with

Cap & Chain as required.

12.	Supplying & fixing 3 way fire brigade connection

of CI body with 03 no. gun metal male instantaneous

inlet coupling complete with Cap & Chain as

required.  For 150 mm dia MS pipe connection

conforming to IS: 904 as required.

- Supplying & fixing pressure switch of reputed 		02 nos.

make Danfoss/Fiebig after replacing

the existing pressure switch.

14.	Supplying & laying inter connection wiring with

pvc insulated multi-strands cable between various

sensors on surface i/c interconnection with diesel

driven pump set for auto start.

2 x 2.5 mm2	100 mtr.

4 x 2.5 mm2	20 mtr.

6 x 2.5 mm2	10 mtr.

15.	Supplying & fixing 63 mm dia Gun-metal branch	24

pipe with 20 mm (nominal internal bore) gun-

metal nozzle conforming to IS 903 suitable for

instantaneous connecton to inter connect hose

pipe coupling as required.

16.	Supplying & fixing 63 mm dia 15 mtr. long RRL	24

hose pipe with 63 mm dia Male & Female Gun-

metal couplings duly binded with GI wire

rivets etc. conforming to IS 636 (Type A)

as required.

17.	Supplying & fixing 20 mm (nominal bore) dia	10

gunmetal globe valve & nozzle.

18. 	Checking & servicing the wetriser & sprinkler control 	LS

panels i/c cleaning the contactors/terminals,

checking of entire connections.  Cost of spares to

be paid separately.

ML- 6	1 no.

ML – 4	2 nos.

ML-2	1 no.

OLR – MN X R4 66-110	1 no.

OLR – Range 45-70 Amps. L &  T	1 no.

Timer – ET 100	1 no.

Indication – 220 V (Neon Type)	10 nos.

Lamps

19.	Supplying & fixing 15 mm size quartzoid  bulb type      15 nos.

sprinkler with temp rating 68 C after replacing the

existing fused sprinklers.

20.  	Supplying & fixing photo luminescent signages.  	 48 nos.

of reputed make Autoglo or Glor lite & as per

NBC provisions.

- Servicing & repair of air release valve installed 	02

on air vessel of 250 mm dia.

- Supplying & fixing of air release valve after 	02

replacing the existing valve.

- Providing & fixing pressure transducers in MS	02

Pipeline (Pressure Range 0-10 Kg/cm2) suitable

for 12/24 Volt DC,  i/c connection etc. as required.

- Supply & Fixing first aid Hose Reel Drum with	04

- brackets after replacing the old leaking drum.

- Supply & Replacement of water CO2 Fire

Extinguisher Cap with Striking Plunger complete

a)	ABS Plastic moulded	50

OR

b)  	Gun Metal	50

27.  	Providing & Fixing of discharge rubber Hose 	75

with horn for CO2 4.5 kg/6.5 kg Gas type

extinguishers complying IS  Parameters.

- Providing & fixing self closing mechanism 	       08 nos.

through spring loaded door closure on

existing M. S. fire door in the basement.

- Interlocking of basement ventilation/smoke

Evacuation  system with the Sprinkler System

Note: The agency executing the work shall have to maintain the system for a minimum period of 3 years for which operational & maintenance charges may be quoted.

- 24 hrs. operation & maintenance of Wetriser,		Rate/p.m.

Sprinkler system comprising 90 H.P. Pump-sets

(02 nos.) 50 H.P. Pump-sets (02 nos.) Jockey Pump-

sets 20/15 H.P. (02 Nos.) Terrace pressurization pump

15 H.P. (01 no.) Diesel engine 85/90 H.P. pump-set

(01 no.) and axial flow fans  (02 nos.)

Accepted by me

Prop/Manager

Seal of the firm

Tel. No.:__________________

Mobile No.:________________

TERMS & CONDITIONS

- The work shall be got executed as per best engineering practice & as directed by the Engineer-In-charge.

- The work shall be complying the relevant specifications.

- The materials/equipments shall be got checked & approved before installation.

- The agency shall be responsible for the safety of its workers.

- Time is the essence of the contract, hence work shall have to be completed within 30 days after the D.O.S.

- No running payment shall be made during execution of the work.

- In case of delay a penalty @ 1% per week shall be levied.

- In case the work is slowed down or abandoned without valid reasons the Board shall have the right to rescind the work & get the same executed through other agency at the risk & cost of the first agency.

- After the completion of the work, the system shall be got checked by Delhi Fire Service for its effectivity.

- 5% of the bill amount shall be withhold as security deposit and shall be released after defect liability period of six months.  The agency shall be bound the rectify the complaints observed during the defect liability period.  In case the complaint is not rectified timely, the Board shall get the work executed against the security deposit.

- Hindrance Register shall be maintained by the agency.  In case of abnormal deviation/extra item,  written permission shall have to be obtained from the Engineer-In-Charge.

- The quantities mentioned in the tender are tentative and subject to deviation which can be increased/decreased.

Accepted by me

Prop/Manager

Seal of the firm

Tel. No.:__________________

Mobile No.:________________

SCHDULE OF WORK – (PART-II)

Name of Work :  Repair/augmentation of Fire detection & alarm System.

Sl. No.   Description of Item                                                      Qty.           Unit        Rate    Amount

1(a)   Repair of 14 zone fire alarm Main  control		01

panel of ‘ASE Make’

b)	Repair of P.A. System associated with the

main console.

2.	Repair of Zonal panels with two sub-		         14

circuits  ‘ASE Make’ i/c installation of Zone

Display Unit (ZDU)

- Repair of Hooters comprising LMT;s of 	24

Philips or equivalent.

- Fault rectification, interconnection & 	14

servicing of talk-back unit at each zone

OR

- Supply & installation of Talk back system 	01

with 14 zones i/c interconnections with the

main panel.

- Supply & installation of Heat Detectors 	200

(rate of rise-cum-fixed temp. type) of Apollo/

System Sensor Make after replacing the fused/

defective unit.

- Supply & installation of optical (Photo-electric) 	20

Smoke Detectors of Apollo/System Sensor

Make after replacing the fused/defective unit.

- Servicing of the amplifier unit	01

- Repair of Manual Call Points	10

- Replacement of glass of the Manual call point	10

- Servicing & cleaning of detectors i/c 	70

Reinstallation

- Checking of circuit wiring of all the detectors 	Job Work

upto the zonal panel & subsequently upto the

main control panel.

- Providing & laying 2 x 1.5 mm2 multi stand 	200 mtrs.

Copper Cable in the existing conduit  pipes.

- Laying good quality PVC pipe/channel 	50 mtrs.

19/20 mm on surface.

Note: The agency executing the work shall have to maintain the system for a minimum period of 3 years for which operational & maintenance charges may be quoted.

- Maintenance of fire detection & alarm system	Rate per month

Comprising 14 zone Master Control Panel,

13 Zonal Panels, P.A. System, Talk-back system

etc. complete.

TERMS & CONDITIONS

- The work shall be got executed as per best engineering practice & as directed by the Engineer-In-charge.

- The work shall be complying the relevant specifications.

- The materials/equipments shall be got checked & approved before installation.

- The agency shall be responsible for the safety of its workers.

- Time is the essence of the contract, hence work shall have to be completed within 30 days after the D.O.S.

- No running payment shall be made during execution of the work.

- In case of delay a penalty @ 1% per week shall be levied.

- In case the work is slowed down or abandoned without valid reasons the Board shall have the right to rescind the work & get the same executed through other agency at the risk & cost of the first agency.

- After the completion of the work, the system shall be got checked by Delhi Fire Service for its effectivity.

- 5% of the bill amount shall be withhold as security deposit and shall be released after defect liability period of six months.  The agency shall be bound the rectify the complaints observed during the defect liability period.  In case the complaint is not rectified timely, the Board shall get the work executed against the security deposit.

- Hindrance Register shall be maintained by the agency.  In case of abnormal deviation/extra item,  written permission shall have to be obtained from the Engineer-In-Charge.

- The quantities mentioned in the tender are tentative and subject to deviation which can be increased/decreased.

Accepted by me

Prop/Manager

              - Seal of the firm

Tel. No.:__________________

Mobile No.:________________