CENTRAL BOARD OF SECONDARY EDUCATION

REGIONAL OFFICE

35-B, CIVIL STATION, M. G. MARG, CIVIL LINES, ALLAHABAD

TENDER NOTICE

Sealed tender are invited on behalf of The Secretary C.B.S.E. for the following works under Two Bid System :-

| Sl. No. | Scope of Work | Location | EMD # | Essential qualification |
| --- | --- | --- | --- | --- |
| 1. | 24 hrs O & M of Wet riser system & maint of Fire Detection / Alarm system. | C.B.S.E., Regional Office Bldg, 35B, M.G. Marg, Civil Lines, Allahabad | Rs 10,000/- | 1. Should have executed atleast two similar works of value of Rs 1.8 Lac or more in multi story bldg of Govt / Public Sector undertaking/ reputed organisations. 2. Minimum 3 years experience in the relevant field. 3. Office premises in Allahabad and nearby. |

#EMD is payable in form of BD / DD (Issued by Nationalised Bank Only) in favour of the Secretary C.B.S.E., payable at Allahabad.  Tender can be purchased from the Cashier, C.B.S.E., Regional Office, Allahabad against payment of Rs 500/- on all working days between 10:00 a.m. to 1:00 p.m. upto 12.03.2011.  Last date for submission of tender is 15.03.2011 upto 1:00 p.m.

Tender is to be submitted in the prescribed format in Two Bid System; Technical & Financial Bids be placed in two separate envelopes and both envelopes be kept in another bigger envelope duly sealed and superscribed “TENDER FOR FIRE FIGHTING WORK”.  The EMD and all requisite documents must be attached with the Technical Bid and the Financial Bid should contain rates only.  Tenders duly filled in must be put in the tender box paced at Reception Counter, Regional Office Building upto 1:00 p.m. on or before 15.03.2011.  The technical Bids shall be opened on the same day at 3:00 p.m. in the presence of the tenderers.  Financial Bids of qualified tenderers in the Technical Bids will be opened later and the date for opening the Financial Bids will be placed on notice Board in the office premises.  Incomplete and conditional tenders shall be summarily rejected.

The Secretary, C.B.S.E. reserves the right to reject any or all the tenders without assigning any reason.

REGIONAL OFFICER

Cost of form : Rs. 500/- (Non-refundable)                                  Form No : _______

CENTRAL BOARD OF SECONDARY EDUCATION

REGIONAL OFFICE BUILDING

35-B, CIVIL STATION, CIVIL LINES, M. G. MARG, ALLAHABAD

Ph.: 0532-2407970,2408971,2407992, Fax : 0532-2408977

Last date for receipt of tender : 15.03.2011 upto 01.00 p.m.

PART I - TECHNICAL BID

Name of work	: 24 hrs Operation & Maintenance of the Fire Fighting installation, 			   	  Wet riser & Fire Detection / Alarm System installed at C.B.S.E.

R.O. Bldg, 35-B, Civil Station, M.G. Marg, Civil Lines, Allahabad

1.    Credentials of tenderers

1.1  Name of the agency	  :- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

1.2  Office Address and	  :- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

Tel. Nos.     		   - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -	1.3  Electrical Licence from  :- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -- -	       Director Electrical Safety

Govt of U.P. Lucknow

(With documentary evidence)

1.4  E.P.F A/c No with latest  :- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - --- -

challan

1.5  PAN No.			  :- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

(With documentary evidence)

1.6  Sale Tax Regn Certificate  :- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

(With documentary evidence)

1.7  Service Tax Regd Certificate	  :- - - - - - - - - - - - - - - - - - - - - - - - - - - - -  - -

(With documentary evidence)

2.    Annual turnover (last three year) :-

| Sl. No | Year | Turn Over |
| --- | --- | --- |
| 1. |  |  |
| 2. |  |  |
| 3. |  |  |

3.    Experience (last three years)  :-

3.1  Contracts executed corresponding to the NIT (To be supported with                                              	    documentary evidence) :

| Sl. No. | Years | Name of the organisation | Cost of the work (Executed) | Officer concerned in the organisa-tion with Tele No | Period |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | From | To |
| 1. |  |  |  |  |  |  |
| 2. |  |  |  |  |  |  |
| 3. |  |  |  |  |  |  |

-2-

3.2   Present assignment in hand corresponding to NIT for 24 hrs Operation &   	       Maintenance of the Fire Fighting installation, Wet riser  & Fire Detection / Alarm 	       System.

4.   Earnest Money of Rs. 10,000/- in favour of the “Secretary, C.B.S.E., Allahabad” has been deposited vide _____________________________BD/DD No __ _ _ _  dated _ _ _ _ _ _ _  _.

5.   Copy of the supporting documents in r/o information at Serial No. 1 to 3.1 above & EMD must be enclosed.

6.  Declaration : All terms & conditions as mentioned in the Tender Documents are acceptable to me/us.

Signature of the Tenderers_ _ _ _ _ _ _ _ _ _ _ _ _ _ _

Name & Address of Tenderers with seal_ _ _ _ _ _ __

_ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _

Telephone/Mobile No. _ _ _ _ _ _ _

Place : ____________

Date : _____________

LIST OF ENCLOSURES

1.	E.M.D. of Rs 10,000/- in the form of BD / DD No _________ dated  ___________ of Bank __________________________ (attached with technical bid only)

2.	List of clients.

3.	Performance certificate of last few works duly attested.

4.	Electrical licence from the office of Director Electrical Safety, Govt of U.P., 	Lucknow.

5.	The organizational set up including technical infrastructure.

6.	Analysis of rates.

7.	Any other documents.

(Signature of the Tenderers)

with complete address and seal

Dated :  ___________

CENTRAL BOARD OF SECONDARY EDUCATION

REGIONAL OFFICE

35-B, CIVIL STATION, M.G. MARG, CIVIL LINES

ALLAHABAD

GENERAL INSTRUCTIONS TO CONTRACTORS

Contractors are requested to note that non compliance of the following instruction is liable to render them non bona fide.

1.	The contractor should read carefully the tender paper and examine general 	instruction specifications, schedule of quantities etc. and shall visit the site of 	proposed work, and acquire the requisite information relating to the item of 	work etc. before filling in the tender papers and quoting rate.

2.	The contractors are required to check the number of the pages and if any is 	found missing or in duplicate, or the figure or writing indistinct the same be 	reflected with legible one.

3.	The contractor should fill in all the relevant blanks line and put their signature 	on the relevant places as shown in the tender document.

4.	The contractor shall quote his rates in figures as well as in words against 	relevant column and the same shall be duly attested.

(a)	Contractors should quote the rate.

(b)	No cutting / overwriting and use of whitener is permitted in Technical 	Bid as well as Price Bid.

(c)	Each page of the schedule of quantities and the Central Summary is to 	be signed by the contractor.

5.	Tender marked original duly filled in and accompanied with earnest money as 	specified must be in sealed envelope submitted to the Regional Officer, CBSE, 	Regional Office, 35-B, M.G. Marg, Civil Lines, Allahabad on or before 1300 hrs 	on 15.03.2011.  The Technical Bid will be opened on 15.03.2011 at 1500 hrs 	in presence of contractor or their accredited representative who desire to 	attend.

6.	Contractors are requested to put their firm’s endorsement on each page of the 	tender document as token of perusal.

7.	No alternations or addition should be made by the contractors to the text of the 	schedule of these tender pages.  Violation of this instruction will lead rejection 	of the tender at the discretion of the Tender Inviting Authority.

8.	Any tender who proposes any alterations to any of the condition laid down or 	proposes any other conditions of any description what-so-ever is liable to be 	rejected.

-2-

9.	No liability what-so-ever will be admitted, nor any claim be allowed in respect 	of errors in the contractor’s tender due to mistake in the Price Bid (Schedule of 	Quantities) which should have been rectified in the manner described above.

10.	Earnest Money accompanying the tender will be accepted only in the form of 	Demand Draft drawn in favour of the Secretary, CBSE payable at Allahabad.

11.	Contractors are warned that en-cashable cheque or Bank or Insurance 	Guarantee or Fixed Deposit Receipt in lieu of the aforementioned form of 	Earnest Money remittance will not be accepted.

12.	Tenderers should not that their tenders would remain open for consideration for a 	minimum period of THREE MONTHS from the date fixed for the receipt of tenders.

13.	The Tender Inviting Authority reserves the right to accept or to reject any or all 	tenders at its discretion without assigning any reasons thereof.  The Tender Inviting 	Authority does not bind to accept the lowest tender.

Signature of the Tenderers_ _ _ _ _ _ _ _ _ _ _ _ _ _ _

Name & Address of Tenderers with seal_ _ _ _ _ _ __

_ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _

LETTER FROM CONTRACTORS TO THE REGIONAL OFFICER TO BE SUBMITTED ON OR BEFORE 1300 HRS ON 15.03.2011

To,

The Regional Officer

Central Board of Secondary Education

35-B, M.G. Marg, Civil Lines

Allahabad

Name of Work  :  24 Hrs Operation and Maintenance of Fire Fighting installation, 			Wet riser & fire Detection / Alarm System installed at CBSE, 				Regional Office Building, Allahabad

Dear Sir,

Having examined the condition of Tender Schedule of work relating to the work of the Tender and having visited / examined the site of the proposed work and having acquired the requisite information relating thereof as affecting the Tender invited by you.   The undersigned hereby offer for 24 hrs Operation and Maintenance of fire Fighting installations strictly accordance with the contract conditions and specification for sum of Rs __________ (Rupees _______________________ only) as may be contained in accordance with the said conditions.

I/we undertaken 24 hrs Operation and Maintenance of Fire Fighting installations for the specific period under the terms and conditions of tender from the date of issue an intimation from you that the tender has been accepted and upon receiving possessions of the site.  I/we shall be under the obligation to pay the sum of Rupees as stated in the Appendix to the conditions of contract.

I/we enclose two envelopes of my/our tender and Earnest Money remittance of Rs _________ (Rupees _________________________ only) in separate sealed envelope in the form of Demand Draft Sl. No __________ dated ____________ Bank ___________ payable in favour of Secretary CBSE, Allahabad.

I/we hereby agree that this sum shall be forfeited by the CBSE in the event of my / our failure to execute contract when called upon to do so.

I/we not that EARNEST MONEY REMITTANCE IN FORM OTHER THAN DEMAND DRAFT SHALL NOT BE ACCEPTED.

-2-

IN THE EVENT OF THE TENDER BEING ACCEPTED.   In the event of acceptance of Tender, the Agency / firm shall be at liberty either to accumulate the EMD towards 10% S.D. amount or can receive the EMD after deposit of S.D. as per Appendix to the condition of contract.

Yours faithfully,

Signature of Contractor

Name of the partner of the firm

Or

Name of person having attorney to sign the contract

(Certified true copy of the power of attorney should

Be attached)

CENTRAL BOARD OF SECONDARY EDUCATION

REGIONAL OFFICE

35-B, CIVIL STATION, M.G. MARG, CIVIL LINES

ALLAHABAD

I hereby affirm that I have read all the instructions, terms & conditions before submission of the schedule of work and are acceptable to me.

Signature of the Tenderers_ _ _ _ _ _ _ _ _ _ _ _ _ _ _

Name & Address of Tenderers with seal_ _ _ _ _ _ __

_ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _

Tele No     :  ____________

Mobile No :  ____________

Date          :  ____________

Place	       :  ____________

CENTRAL BOARD OF SECONDARY EDUCATION

REGIONAL OFFICE

35-B, CIVIL STATION, M.G. MARG, CIVIL LINES

ALLAHABAD

MAINTENANCE AND OPERATION OF WET RISER, SPRINKLER SYSTEM

A.	Daily Check.

1.	Checking of all floor hydrant valves, hose pipes, hose reel, nozzles, 		hose reel drums pumps, hydrants etc.

2.	Checking of sprinkler line pressure and sprinkler head.

3.	Checking of valves and N.R.V.

4.	Checking of hydrant pressure and recording in log book.

5.	Checking of water and diesel level of engine and topping up with the 		fuel.

B.	Monthly Check.

1.	Testing of automatic working of fire hydrant system.

2.	Testing of automatic working of sprinkler system.

3.	Checking and cleaning of all starter contracts of electric panels.

4.	Checking and testing of automatic pressure switches of pumps.

5.	Cleaning of alarm gong and its drain valve connection.

6.	Conducting drill for the system.

C.	Quarterly Check.

1.	Checking of performance of electric panels (Voltage & Current load).

2.	Checking of wiring, cable termination glands.

3.	Checking of fuses and bulbs.

4.	Checking of glands of sluice valves.

5.	Cleaning of cooling water system of the engine.

6.	Checking of battery charging.  To be charged if required and checking 		of gravity of acid.

-2-

D.	Half Yearly Check.

1.	Replacement of greases.

2.	Changing of glands of pumps.

3.	Checking of alignments and foundation bolts adjustment of Humps.

4.	Checking of working of NRV pressure plate.

5.	Planting of all hydrant and sprinkler line.

6.	To check, clean and adjust the relays switches etc..

7.	Oiling and greasing of all hydrants sluice valve N.R.V. etc.

8.	Testing of fire hose at required pressure.

9.	Testing hose reels and band pipes at required pressure.

10.	Servicing of fire pumps as manufacturer’s manual through authorised 		dealer.

Signature of the Tenderers_ _ _ _ _ _ _ _ _ _ _ _ _ _ _

Name & Address of Tenderers with seal_ _ _ _ _ _ __

_ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _

LIST OF INSTALLATION

| Sl. No. | Details of Electrical & Mechanical Installations | Quantity |
| --- | --- | --- |
| A. | 24 hrs Operation and Maintenance of Fire Fighting System consisting of wet riser and sprinkler system including the installation mentioned as under alongwith the control panel. |  |
| 1. | Electric driven main fire pump set of 75 HP | 01 Nos |
| 2. | Diesel engine driven main fire pump set with auto starting panel of 79 HP | 01 Nos |
| 3. | Electric driven pressurization pump 15 HP | 01 Nos |
| 4. | Electric driven terrace pump having 30 mtrs discharge head of 12.5 HP | 01 Nos |
| 5. | Mono block self priming drainage pump of 90 LMP discharge of 10 mtrs | 01 Nos |
| 6. | Double Headed internal valve | 18 Nos |
| 7. | Single Headed external hydrant | 06 Nos |
| 8. | Quartzoid bulb type sprinkler | 40 Nos |
| 9. | Booster pump 15 HP | 02 Nos |
| 10. | De-watering pump set 2 HP | 02 Nos |
| 11. | Water supply cubical panel board | 01 Nos |
| B. | Operation and Maintenance of Fire Alarm system comprising of installations mentioned as under :- |  |
| 1. | Sensor type detector system | 94 Nos |
| 2. | Sensor type smoke detector system | 93 Nos |
| 3. | Manual Call Box | 24 Nos |
| 4. | Two zone sector panel | 08 Nos |
| C. | Main Control Panel Consisting of :- |  |
| 1. | Ten one sector panel |  |
| 2. | Talk back master starter | 01 set |
| 3. | Announcement control desk | 01 set |
| 4. | 100 W Amplifier with all accessories | 02 set |
| 5. | Monitor panel for Loudspeaker with volume control | 01 Nos |
| 6. | Goose neck microphone with stand | 01 set |

CENTRAL BOARD OF SECONDARY EDUCATION

REGIONAL OFFICE BUILDING

35-B, CIVIL STATION, CIVIL LINES, M. G. MARG, ALLAHABAD-211001

Last date for receipt of tender : 15.03.2011 upto 01.00 p.m.

PART II : PRICE BID

(Schedule of Quantity)

Name of Work :  24 hrs Operation and Maintenance of Fire Fighting System 		      	      consisting of wet riser and sprinkler system including the

installation mentioned as under alongwith the control panel.

| Sl. No. | Description of items | Rate per month including of all taxes |
| --- | --- | --- |
| A. | 24 hrs Operation and Maintenance of Fire Fighting System consisting of wet riser and sprinkler system including the installation mentioned as under alongwith the control panel. |  |
| 1. | Electric driven main fire pump set of 75 HP – 01 Nos. |  |
| 2. | Diesel engine driven main fire pump set with auto starting panel of 79 HP – 01 Nos. |  |
| 3. | Electric driven pressurization pump 15 HP – 01 Nos. |  |
| 4. | Electric driven terrace pump having 30 mtrs discharge head of 12.5 HP – 01 Nos. |  |
| 5. | Mono block self priming drainage pump of 90 LMP discharge of 10 mtr – 01 Nos |  |
| 6. | Double Headed internal valve – 18 Nos |  |
| 7. | Single Headed external hydrant – 06 Nos |  |
| 8. | Quartzoid bulb type sprinkler – 40 Nos |  |
| 9. | Booster pump 15 HP – 02 Nos |  |
| 10. | De-watering pump set 2 HP – 02 Nos |  |
| 11. | Water supply cubical panel board – 01 Nos |  |
| B. | Operation and Maintenance of Fire Alarm system comprising of installations mentioned as under :- |  |
| 1. | Sensor type detector system – 94 Nos |  |
| 2. | Sensor type smoke detector system – 93 Nos |  |
| 3. | Manual Call Box – 24 Nos |  |
| 4. | Two zone sector panel – 08 Nos |  |
| C. | Main Control Panel Consisting of :- |  |
| 1. | Ten one sector panel |  |
| 2. | Talk back master starter – 01 Set |  |
| 3. | Announcement control desk – 01 Set |  |
| 4. | 100 W Amplifier with all accessories – 02 Set |  |
| 5. | Monitor panel for Loudspeaker with volume control – 01 Nos |  |
| 6. | Goose neck microphone with stand – 01 Set |  |

CENTRAL BOARD OF SECONDARY EDUCATION

REGIONAL OFFICE

35-B, CIVIL STATION, M.G. MARG, CIVIL LINES

ALLAHABAD

TERMS AND CONDITIONS OF CONTRACT

1.	Credentials of tenderers.

1.1	Name of the Agency	:  ___________________________

1.2	Office address and tele Nos : __________________________

1.3	License No & Registration details with documentary  -  Annexure 1

Evidence.

1.4	P.F. A/c No with documentary evidence		  -  Annexure 2

1.5	PAN No with documentary evidence		       	  -  Annexure 3

1.6	Service Tax Regd Certificate supported with 	  -  Annexure 4

Documentary evidence

Condition of contract for Annual Maintenance & Operation of Fire Fighting and Fire Alarm System installed at CBSE, Regional Officer Building, Allahabad.

2.	General.

(a)	The contract is with a view to keep the entire fire fighting installation like     		down corner / wet riser, fire pumps, fire panels, smoke detection system in 		good serviceable condition to ensure their proper and effective functioning.  		The contract include the manning of above installation round the clock for   		CBSE, RO Building at Allahabad, so that the person on duty will keep a     		constant watch on fire pump, panel, 	hydrant etc. and shall operate the system 		promptly in case of any fire / emergency.

(b)	The contractor for above work should be preferably qualified in fire safety are 		fire fighting equipments from Fire Engineering College of Nagpur / any other 		Govt of India recognised Fire Engineering College or they should have the 		past experience of erecting / maintenance of various type fire fighting         		installation.

.  	(c)	The tender shall be valid for acceptance for a period of three months from 		the last date of receipt of tenders.

(d)	Maintenance Regulation.

- The contractor shall ensure that operation and maintenance of installation is done as per the rules and regulations of Chief Fire Officer Allahabad. The contractor shall strictly follow the instruction (either in writing or oral) time to time issued to them by the Regional Officer of his authorised representative.

- The contractor or his authorised representative should be available as and when required to take instruction on fire extinguishing and fire fighting matters regarding maintenance and operation.

(e)	The scope of work, terms & conditions are as under :-

- Providing qualified and trained staff to operate and maintain the system round the clock.

2

- Maintenance and operation of :-

(aa)	Down comer.

(ab)	Fire pump including periodical maintenance as per               				recommendation of fire pump manufacturer.

(ac)	Operation of each hydrants periodically (min 3 hydrants per 				week), do rolling the hose reels drying in same and 	putting ack 				in the yard hydrant polishing (Brass) of G.M. hydrants valves,  				branch pipe nozzle etc. at least once in a month.

(ad)	Maintenance / operation of fire pumps at least once in a       				month min 15 minutes (in Manual auto mode).

(ae)	Cleaning of all hydrant boxes etc.

(af)	Providing gland packing and washers etc.

3.	Earnest Money Deposit (EMD)

(a)	The Govt. Department, Public Sector Units, Small Scale Industrial (SSI)     		Units, (Only permanently registered) and agencies registered with NSIC etc, 		are exempted from submitting EMD.

(b)	SSI Units and agencies requesting for exemption from submission of EMD 		shall submit a copy of their Registration Certificate.  Only such Units and         		agencies registered for the same trade / item for which the tender is relevant 		shall be exempted from submission of EMD.

(c)	EMDs of unsuccessful tenders shall be refunded within reasonable time     		without interest.

(d)	The tenders without EMD or partial EMD shall be summarily rejected.

(e)	Earnest money to successful tenderer shall be returned after submitting the 		Initial Security Deposit (ISD) @ 10% of contract value in the form as           		prescribed under General Financial Rules 2005.   No interest will accrue on 		such deposit.

4.	Security Deposit.  The agency shall have to deposit @ 10% of the contract 	value as security before start of the work.  The same shall be retained till the 	contract is in force and shall be returned after getting clearance from the Engineer-	in-Charge after expiry of the contract.

5.	Commencement of Work.   The agency shall be bound to take over the 	system with 	complete installations within a period of 07 days from the issue of 	the work order  	failing which EMD is liable to be forfeited.

6.	Rate Quoted.

(a)	The rate shall be inclusive of all materials (as per schedule of  requirement) 	     	labours, T&P, Taxes, duties, over heads and profits etc and everything      		necessary for 	carrying the work as specified in the tender or as directed.

(b)	The rates quoted by the contractors will be FIRM throughout the currency of 		contract including extension of time, if granted and shall not be subject to any 		fluctuation due to variation in cost of material and labour etc.

3

(c)	Rates quoted by contractor shall include removing, shifting, reinstalling       		restoring of the furniture and equipment etc of the premises to get the work 		done.

7.	Compliance of Labour Laws and Insurance.

(a)	The contractor shall at his 	expenses, ensure due compliance with all 		applicable and governing labour 	laws, rules, regulations and bye-laws 		of contract and State/Central Govt regulations and other local            		authorities and further to defend indemnify and keep the owner         		(Principal Employer) harmless for any liability or penalty which may be 		imposed by State / Central Govt and / or other local authorities.  Also 		from all claims, suits or proceedings that may be brought against the 		owner arising under, growing out of by any reason of the work provided 		for by this contract whether brought by an employee of the contractor, 		by third party by State / Central Govt and’ or; local authorities.  The   	         	contractor shall ensure due compliance with all provisions of the        		following Acts and liabilities :-

(i)	Minimum Wages Act.

(ii)	Payment of Wages Act.

(iii)	Contract Labour (regulation & Abolition) Act.

(iv)	Employees State Insurance, Workmen Compensation and      			employees Liability Insurance any other insurance required     			under law or regulation or by owner.

(v)	Accidental injury to workmen and damage to property or to any 			person or third party.

(b)	The contractor shall indemnify and keep the owner / Principal employer 		harmless of all claims, damages or compensation payable by law in 		respect or in consequence of any accident or damage arising under or 		by reason of this agreement or execution of contract.

(c)	The work shall comply with the latest Local Authorities regulations and 		shall be carried out to the entire satisfaction of C.B.S.E., it shall be        		responsibility of the contractor to obtain prior approval of Local          		Authorities / Bodies, if any at his cost.  In case of any dispute decision 		of the Tender Inviting Authority shall be final and binding on the         		contractor.

8.	Printed Conditions. Any conditions on letterhead or otherwise will not be 	considered and contract will be governed solely on the conditions of contract 	stipulated herein.

9.	Accommodation. The contractor shall be required to make his own 	arrangement of accommodation for his worker / staff and storage of materials.

4

10.	If on checking there are differences between the rates given by the contractor 	in word and figure or in the amount worked by him, the following procedure 	shall be followed :-

(a)	When there is difference between the rates in figure and in words, the 		rates, which correspond to the amounts worked out by the contractor, 		shall be taken as correct.

(b)	When the amount of an item is not worked by the contractor or it do not 		correspond with the rate written either in figures or on words, then the 		rate quoted by the contractor in words shall be taken as correct.

(c)	When the rates quoted by the contractor in figures and in words tallies 		but the amount is not worked out correctly, the rate quoted by the     		contractor shall be taken as correct and not the amount.

11.	Extension of Contract.   The contract shall be valid for a period of one year at 	initial instance (It can be extended further on mutually agreed rates and terms and 	conditions for another one year or yearly basis).

12.	Termination of Contract. The contract can be terminated by giving advance 	notice for two calendar months in writing.

13.	Experience.  The tenderers should have adequate experience (minimum  three 	years) in maintaining and manning of these installations and submit a proof 	thereof along with tender.  In case 	their experience is found inadequate the Board 	reserves right to reject the tender (s).

14.	Local Regulations. The contractor shall ensure that operation and 	maintenance of installation is done as per the rules and regulations of Chief Fire 	Officer, of fire service.  The contractor shall also abide by the requirements of our 	office and shall strictly follow the instructions from time to 	time.

15.	Log Book.

(a)	The contractor shall maintain a log book at the site wherein entries like       		general conditions, fortnightly / periodical duties / maintenance carried out and 		results 	achieved shall be recorded.  This drill shall apply for all equipments / 		components.  	The specimen of log book shall be got approved.  The entries 		in log book shall be got signed by Assistant Secretary (Admn) or by a person 		authorised by him.

(b)	In case of any actuation of fire detectors for testing / actual fire false alarm, the 		contractor shall inform the Engineer-in-Charge.  The contractor shall also   		inform the Engineer-in-Charge in case of any abnormal functioning in any   		system and make necessary entries in the log book.

16.	Tools and Plants. The contractor shall provide necessary tools and plants required 	for carrying out the maintenance work.

17.	Behaviour of Staff.   The personnel deputed for maintenance work shall behave                                                                   	properly with Board staff and public.  They shall behave politely and shall maintain 	discipline.

5

18.	Arbitration.  In case of any dispute between the parties arising out or in 	relation to 	the agreement the dispute shall be reflected to a sole arbitrator to 	be appointed by 	the authorise by the Board and decision of such arbitration shall be inclusive and 	binding on both the parties.  The Arbitration Act 1940 and subsequent amendments 	their in.

19.	Payment Terms.  Payment  shall be made on monthly basis after making 	deduction of Income tax / any other tax as per Govt rules.

20.	Identification. All the equipments like fire hydrants, valves, hose reel, fire 	detector panel, etc. shall be serially numbered for proper / easy identification.

21.	Coordination with other Agencies.  The contractor shall extend all cooperation  	to the other agencies in r/o work in the Board premises for any purpose.

22.	Penalties and ID.   In case maintenance work has not been attended to / 	defect has 	not been set right the penalty shall be imposed as per following :-

| Sl No. | Description | Penalty (In Rs) |
| --- | --- | --- |
| (a) | If main control panel is not set right within 24 hrs | 400/- day |
| (b) | If any of the Zone remains out of order for more than 24 hrs | 150/- day |
| (c) | If PA system is out of order for more than 24 hrs | 150/- day |
| (d) | If any circuit is faulty for more than 24 hrs | 50/- day |
| (e) | If battery charging unit is out of order for more than 24 hrs | 100/- day |
| (f) | If fire pump panel etc. are under breakdown for more than 24 hrs | 500/- day |
| (g) | If valves are leaking / pressure switches / air vessel etc. are not working | 150/- day |
| (h) | If routine / periodical maintenance is not carried out | 1% per week |

Note  :  While imposing the above penalty / ID, due consideration shall be given to 		   the time required for carrying out the necessary repairs.

23.	Contractor will inspect entire installation before quoting their rates.  If any 	alteration to 	improve the system needs to be uncoated same shall be intimated in detail item wise 	with complete specification alongwith item wise estimate rate.  This proposal shall be 	given on the letter head of contractor which shall be kept in separate envelope.

24.	Performance of contractor shall be observed for first three month. If 	performance of the contractor in first three month is not found to be satisfactory the 	contract shall be terminated by serving notice for one week.

25.	Contractor will provide name and detail of their personal, looking after the 	maintenance of above installation.  Contractor will have to obtain approval for the 	workmen being deputed at above sites and bio-data shall be submitted accordingly.  	Person who have not been authorised by this office shall not be deputed on the job.

26.	The agency will have to provide staff for 24 hrs Operation and Maintenance of Fire 	System. The additional staff if required for regular maintenance, servicing and 	attending to fault shall have to be arranged by the agency within the quoted rates.  	The agency shall have to engage experienced and skilled staff.

27.	The agency shall take all precautionary measures for safety of his workers 	during performance of the duties.

6

28.	The staff to be engaged should possess qualification as given below :-

(a)	Fire Fighting Operator -  03 Nos (Holding five years experience in the                  		relevant field having fire fighting certificate from the issuing authority)*.

NOTE  :  *Photocopy of permit / certificate shall be submitted to the Engineer-in-         		       Charge of the Board (Original should also be shown for verification).

29.	The agency shall provide uniform for the staff on duty.

30.	A minimum pressure of 3.5 Kg / CM2   has to be maintained in the system.

31.	Piping system shall be checked and reported to the Engineer-in-Charge.

32.	Components such as switch tear shall be supplied by the Board to the agency.

33.	Distilled water, cleaning materials, CTC COTTON, Old Dhoti, Pilot Lamps, 	gland dori, grease, packing sheets, nut & bolts, HRC fuses, torch and other 	materials including the control spares shall be provided by the agency.

34.	Dismantled material shall be returned to the Board.

35.	The agency shall maintain a line diagram of the system in the Pump House / 	Control Room.

36.	The watch and ward of the complete installation including the Pump House and Fire 	Hydrants inside and outside the building shall be the responsibility of the agency.

37.	Operators presence all the time is the essentiality of the contractor, hence 	operator must be on duty and plant room should not be left unattended.  In 	case the reliever does not report,  the first operator shall continue to be on duty.

38.	The agency shall arrange to give ‘Live Demo’ of the complete system on  	monthly basis as decided by the Competent Authority and six monthly basis in 	presence of the Fire Authorities.

39.	After expiry of the contract period, contractor shall hand over entire installation with all 	complete equipments in good working condition as detailed in Schedule of Work.  	Final bill (last two month) shall be settled only after 	handing over of above installation 	in good working / operational condition.  If system is found un-operational the cost 	for making the system operational; shall be recovered from the pending dues to the 	contractor.

Signature of the Tenderers_ _ _ _ _ _ _ _ _ _ _ _ _ _ _

Name & Address of Tenderers with seal_ _ _ _ _ _ __

_ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _

7

CENTRAL BOARD OF SECONDARY EDUCATION

REGIONAL OFFICE

35-B, CIVIL STATION, M.G. MARG, CIVIL LINES

ALLAHABAD

APPENDIX TO THE CONDITION OF CONTRACT

Name of Work  :  24 Hrs Operation & Maintenance of Fire Fighting installation,     			 Wet riser & Fire Detection / Alarm System installed at CBSE, 			 Regional Office Building, Allahabad.

1.	Date of commencement of work	: The date of issue of acceptance letter / 						   work order or date of handing over of site

which ever is later.

2.	Duration of contract			:  Upto one year

3.	Earnest money deposit		:  Rs 10,000/- (Rupees ten thousand only)

4.	Security deposit			: The security deposit shall be 10% of the 						   total contract value.

5.	Procedure for security deposit	:  EMD of successful tenderers shall be

retained as part of SD and balance shall 						   further be deposited within seven days 						   from the date of receipt of acceptance   						   letter.

6.	Release of Security Deposit (SD)	:  (a)  SD will be refunded within 60 days of 						   successful completion of work or handing 						   over of entire installation in healthy &    						   working condition with all equipment /    	    					    material.

(b)  No interest is allowed on any part of 						   SD.

7.	Liquidated damaged		:  As per detail given in the special terms &

conditions of the tender.

8.	Mode of payment			: As specified in the acceptance / work order 						   on monthly basis.

NOTE  :  The tender rates should be inclusive of sale tax, work contract tax, 		      service tax etc. all complete.

Signature of the Tenderers_ _ _ _ _ _ _ _ _ _ _ _ _ _ _

Name & Address of Tenderers with seal_ _ _ _ _ _ __

_ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _