CETRAL BOARD OF SECONDARY EDUCATION

REGIONAL OFFICE, BHUBANESHWAR

6TH FLOOR, ALOK BHARTI COMLEX, SAHEED NAGAR

BHUBANESHWAR.

TENDER NOTICE

Sealed Tender are invited from reputed firms who have satisfactorily executed two similar works of value  Rs.3.0 Lakh & above in last two years for undertaking the Aluminium Partition /Cabin work etc.

|  | Location (site) | CBSE Regional Office |
| --- | --- | --- |
|  | Estimated Cost | Rs.5.0 Lakh |
|  | E.M.D. | Rs.15000/- in favour of the Secretary, CBSE through DD/BD, payable at Bhubaneshwar |
|  | Cost of Tender | Rs.500/- Tender can be purchased from the Oriental Bank Of Commerce Alok Bharti Complex, Saheed Nagar, Bhubaneshwar. |
|  | Last date for submission of Tenders | 08-04-2009 upto 2:00 PM. May be dropped in the Tender Box kept at CBSE, Regional Office, Bhubaneshwar. |
|  | Opening the Tenders | 08-04-09 at 3:00 PM. at CBSE, Regional Office, Bhubaneshwar. |

Tender forms can also be down-loaded from CBSE website www.cbse.nic.in. In case of down-loading the tender format, the agency shall be required to deposit the cost of tender in the form of DD for Rs.500/- along with the tender. Experience documents duly attested must be enclosed with the tender. Incomplete and conditional tender shall be summarily rejected. The Secretary, CBSE reserves the right to reject any or all the tenders without assigning any reason thereof.

OFFICE INCHARGE

CBSE, Regional Office,

Bhubaneshwar.

TENDER FORM NO.________

Cost of  Tender Form : Rs.500/-

Last date for tender submission : 08-04-2009 upto 2:00 PM

Date & Time of tender opening : 08-04-2009 at 3:00 PM

CETRAL BOARD OF SECONDARY EDUCATION, REGIONAL OFFICE, BHUBANESHWAR

Tender for Aluminium Partition /Cabin work  at the CBSE, Regional Office,6th Floor Alok Bharti Complex, Saheed Nagar , Bhubaneshwar.

- FIRM’S NAME & ADD  :   …………………………………………………………………..

  - Contact No.           :   ..……………………/Mobile No.  ……………………………..

  - Type of Firm         :                   :Govt. Undertaking/Firm/Private Ltd./MNC/cooperative

- CLIENT SERVED BY THE FIRM  : Please indicate by selecting Yes/No. Also attach a list of client , indicating services rendered, during, name of the contact person with phone nos.

| Govt. Undertaking | M.N.C. | Public Sec. Undertaking | Private Sector | Educational Bodies |
| --- | --- | --- | --- | --- |
| YES / NO | YES / NO | YES / NO | YES / NO | YES / NO |

- DETAIL OF TURNOVER FOR THE LAST TWO YEARS

| Total Turn Over | Year 2006-07 | Year 2007-08 |
| --- | --- | --- |

- REGISTRATION NO.    :  __________________

- DETAIL IF EARNEST MONEY DEPOSITED

  - Amount : 15000                               Demand Draft No…………….Date……………….

  - Issuing Bank      :   ……………………………………………………………………….

Date:____________                                                  ………………………………………..

Authorized Signatory

(With full Name & Designation)Seal of the firm

[Note : 1. Terms & Conditions are given on the overleaf which  must be signed with date & seal for Acceptance of the same.

2.  The executive will be done under the supervision of a technical person of the CBSE Office as per requirement.]

CENTRAL BOARD OF SECONDARY EDUCATION,

REGIONAL OFFICE, SAHEED NAGAR, BHUBANESHWAR

Tender for Aluminium Partition/Cabin Work etc. at the CBSE Regional Office, 6th Floor Alok Bharti Complex, Saheed Nagar, Bhubaneshwar.

TERMS AND CONDITIONS

- The tender without Earnest Money Deposit (EMD) will be rejected.

- Prices quoted should include all charges like VAT/sales tax, Excise Duty, Octroi, Insurance, Technical Service/ Installation and Acceptance of the goods at site etc. No other charges/taxes/levies will be paid by the CBSE during pendency of the contract/supply.

- The rates quoted are including the cost of material, transporting, loading and all others.

- The quality of materials and brand name to be used shall be as specified in the original tender paper submitted by the agency.

- The work will be done as per the CPWD specifications & on-site instruction of the Regional Officer/Sr. Engr. the technical person of the CBSE.

- Any failure in the structure provided and fixed by the agency, should be rectified within  24 hours of lodging the complaint.

- The entire work shall be completed within the 40 days after 7th day of the work order failing which the Board reserve the right to impose admissible penalty for the delay of work.

- In case of delayed completion penalty at the rate 1% per week subject to a maximum of 10% of the value of the work shall be levied.

- In case of inordinate delay , the Secretary, CBSE is authorized to cancel the order and allot the work to the next lowest eligible agency at the risk and cost of the defaulting tenderer .

- Structural stability certificate shall be given by the agency for a period of 5 years.

- The tender(s) must specifically mention the place and contact No. etc., from where support for maintenance work would be offered for defect liability services.

- Appropriate penalty will be imposed in case of inferior workmanship. The material brought to site would be got checked before installation and utilization.

- The rates will be valid for 60 days.

- No advance payment will be made.

- The material supplied must conform to the relevant IS Specifications.

- No scaffolding etc. shall be provided by the CBSE.

- The payment will be made as per the measurement and verification of the quality of work by the Board’s Engineer.

- If case of any dispute Chairman  CBSE shall be the sole Arbitrator and his decision shall be binding on both the parties.

I/WE/M/s ………………………………………………………….have read the above Terms & Conditions and hereby accept the same.

DATE:                                                                             ….........................................................

Authorized Signatory

( With full Name & Designation)

Seal of the Firm

| S.No | Description of Item SCHEDULE OF WORK | Area | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS : 1285, fixed with rawl plugs and screws or with fixing clips, or with expansion hold fasteners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC/neoprene felt etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing and paneling to be paid for separately) |  |  |  |  |
| 1.1 | For fixed portion Polyester powder coated aluminium (minimum thickness ofpolyester powder coating 50 micron) | 597 | kg |  |  |
| 1.2 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of PVC / neoprene gasket required (Fittings shall be paid for separately). Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 110 | kg |  |  |
| 2 | Providing and fixing 12mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides. | 120 | sqm |  |  |
| 3 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with PVC/ neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-incharge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5.50 mm thickness | 140 | sqm |  |  |
| 4 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width | 80 | metre |  |  |
| 5 | Extra for applying additional anodic coating AC 25 instead of AC 15 to aluminium extruded sections. For fixed portion For shutters of doors, windows & ventilators. | 660 120 | kg kg |  |  |
| 6 | Providing and fixing aluminium tubular handle bar 32 mm outer dia, 3.0 mm thick & 2100 mm long with SS screws etc .complete as per direction of Engineer-in-Charge. Polyester powder coated minimum thickness 50 micron aluminium tubular handle bar | 8 | each |  |  |
| 7 | Providing and fixing 100mm concealed mortyce brass locks (goderj make) for aluminium doors including a paint of lever hand’s, screws & necessary cutting and making good etc. complete. | 8 | Each NDSR |  |  |
| 8 | Providing and fixing aluminium round shape handle of outer dia 100mm with SS screws etc. complete as per direction of Engineer-incharge Polyester powder coated minimum thickness 50 micron aluminium. | 8 | Each NDSR |  |  |
| 9 | Providing and fixing poeder coated Aluminium Butt hinges 100mm x 75 mm x 4.0 mm with matching screws . | 24 | each |  |  |
| 10 | Providing and fixing poeder coated Aluminium sliding bolt matching the door shutters i/c screws etc. complete 300 x 10 mm 250 x 10 mm | 4 2 | each each |  |  |
| 11 12 | Providing and fixing Hydraulic door closer ( ISI mark) tubular type Aluminium section body i/c screws etc. complete Providing and fixing in position collapsible steel shutters with vertical channels 20x10x2mm and braced with flat iron diagonals 20x5mm size with top and bottom rail of T-iron 40x40x6mm with 40mm dia, steel pulleys complete with bolts, nuts, locking arrangement, stoppers, handles, including applying a priming coat of approved steel primer. | 8 4 | each sqm NDSR |  |  |

Accepted by me

Manager / Prop.