Gram :  CENBOSEC, Delhi – 92 	                                                                               Phone: 22509256-59
E-Mail:  cbsedli@nda.vsnl.net.in 	                                                                                                   Fax:    22515826	
website: www.cbse.nic.in

CENTRAL BOARD OF SECONDARY EDUCATION 
(An Autonomous Organisation under the Union Ministry of Human Resource Development Govt. of India)

“SHIKSHA KENDRA”, 2, COMMUNITY CENTRE, PREET VIHAR, DELHI – 110092

No.		      Date: 30.03.2011

………………………….

………………………….

………………………….

………………………….

Sub:- Quotation for False Ceiling  Works for 4th Floor, CBSE, Shiksha Sadan  Building, 17, Rouse Avenues

Sir,

The CBSE intends to get the false ceiling work executed through reputed agencies which have sufficient skilled manpower. Interested agencies may quote their rates in the enclosed schedule of works. An EMD amounting to Rs. 2000/- in the form of DD/BD payable in f/o the Secretary, CBSE must be attached. Sealed quotations complete in all respect must be submitted latest by 11.4.2011 upto 2p.m. & dropped in a tender box placed at Reception Hall, CBSE Shiksha Sadan Bldg., 17 Rouse Avenue, Delhi-02.

Incomplete & conditional quotations shall be summarily rejected. The Secretary CBSE reserves the right to reject any or all the quotations without assigning any reason-thereof

Yours faithfully

(S.K. SHARMA)

SR. ENGINEER (ESTATE)

Name of work: False Ceiling work at 4th Floor, CBSE, Shiksha Sadan Building, 17, Rouse Avenue New Delhi-110002

| S.NO | DESCRIPTION OF ITEM | QTY. | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | P & F in position suspended false-ceiling system using 595mmx595mm Calcium Silicate Ceiling Tiles having 15mm Densified Edges and 100% Humidity Resistence, Incombustible as per BS 476 Part IV with thermal conductivity of 0.043 w/m KC and NRC 0.50, and approved surface design (SPINTONE) and edge profile (Tegular) placed in a suspended grid of size 600mmx500mm made from hot dipped GI Steel sections having an exposed surface capping of pre-finished baked polyester painted coil wherein the main tee of size 24mmx28mmx0.33mmx1200mm shall be inserted in to slots between the main tees at 600mm c/c and thereafter in direction vertical so as to form a grid of size 600mmx600mm resting on the periphery walls on wall angles of size 22mmx22mmx 3000mmx0.40mm thickness including providing necessary opening for light fixtures, diffusers, etc are to be made as per lay out and as per directions of engineer incharge. The main tees are to be suspended from the ceiling/ soffit with the help of metal dash fasteners of 6mmx50mm, soffit cleats of 25mmx35mmx1.6mm and 4 mm dia GI wire with galvanized spring steel leveling clips. The entire grid system shall be designed to bear a distributed load of minimum 15kg/ sq.m. | 24 | sqm |  |  |
| 2 | P&F concealed light fitting size 595x595 mm with 3x36 watts CFL 220 volts, reflective mirror housing square in shape in false-ceiling CFL- watt. Philips/ OSRAM as approved by the Engr. Incharge. | 10 | each |  |  |

Accepted by me:

Signature

Prop./ Manager

Tel. No.

Mob. No.

TERMS & CONDITIONS

- The work is to be completed within a period of 07 days after 7th day of the work order.

- Time is the essence of the contract, hence a penalty @ 1% per week shall be levied in case of delay.

- An EMD of Rs. 2000/- payable in f/o the Secretary, CBSE through DD/BD must be attached.

- The work shall not be discontinued at any cost.

- All the dismantled material shall be removed by the agency.

- The agency shall get the samples of the material approved in advance before utilization.

- The workmanship must be excellent. In case of poor workmanship, the Board shall be free to cancel the contract & get the same executed at the risk & cost of the defaulting agency.

- Needful touch-ups shall be undertaken wherever required so that potholes are filled up.

- Any damage to the building shall be made good by the agency.

Accepted by me:

Signature

Prop./ Manager

Tel. No.

Mob. No.