Gram :  CENBOSEC, Delhi – 92 	                                                                               Phone: 22509256-59
E-Mail:  cbsedli@nda.vsnl.net.in 	                                                                                                   Fax:    22515826	
website: www.cbse.nic.in

CENTRAL BOARD OF SECONDARY EDUCATION 
(An Autonomous Organisation under the Union Ministry of Human Resource Development Govt. of India)

“SHIKSHA KENDRA”, 2, COMMUNITY CENTRE, PREET VIHAR, DELHI – 110092

F-1/ Main./2010/                                                                                           06.04.2010

……………………………

……………………………

……………………………

……………………………

Sub.:	Limited Tender for Parking Shed & Roofing work in H.Q Bldg. Preet Vihar Delhi.

Sir,

The Board intends to get Parking Shed & Roofing works executed at  H.Q Bldg. Preet Vihar Delhi through Limited Tender system.  The rates are to be quoted on the prescribed format. The agencies willing to submit tenders are requested to visit the site before filling up the tender to ensure proper assessment and exact quantum of work. The tenders complete in all respect along with the E.M.D of Rs. 10000/- payable in the form of  DD/ BD in f/o The Secretary CBSE  must be submitted latest by 22.04.2010 upto 1:00 p.m. and dropped in the Tender-Box placed at Ground Floor near Reception Counter, CBSE HQ Building, Preet Vihar, Delhi-110092.

Incomplete and conditional tenders shall be summarily rejected. The Secretary, CBSE reserve the right to reject any or all the tenders with out assigning any reasons thereof.

Yours faithfully

(S.K. SHARMA)

SR. ENGINEER (ESTATE)

Terms and Conditions

- The work should be executed as per CPWD specifications and as per directions of Engineer-In-Charge.

- The Completion time would be 30 days.

- In case of delay, a penalty of 1% per week shall be levied

- The measurement shall be done jointly by the Contractor and JE (Civil).

- All T & P shall be arranged by the Contractor.

- Hindrance Register shall be maintained by JE at site.

- Instructions given in Site Order Book would be followed immediately.

- No running payment shall be considered only final bill would be paid within 30 days after submission of bill duly verified by the JE.

- 10% of the bill shall be deducted as defect liability and shall be released after six months, provided there is no defect in the work .

- 10% deviation in quantities would be permitted.

- Extra-item if any would be paid on analyzed Market rates but the work must be executed with prior approval of Engineer-in-charge.

- In case of any dispute, the Arbitrator shall be appointed by the Chairman and his decision shall be binding.

- The materials to be used must be got approved from the Engineer-in-charge before installation/use.

- Potable water shall only be used at site / work and arranged own self by the Contractor.  Nothing extra shall be paid on this account.

(Signature of the Agency)

With complete address and seal

Add.__________________

____________________

Tel. No.:__________________

Mobile No.:________________

Name of work: Parking Shed and Roofing Work

| S.NO | DESCRIPTION OF ITEM | QTY. | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | Dismantling of existing Fibre / RMP roofing including ridges hips, valleys and gutters etc. and stacking the material within 50mt. lead | 105.00 | Sq.m |  |  |
| 2 | Dismantling steel work in built up section in M.S tubes, angles, tees, flats and channels including all gussets plates nuts, bolts, cutting rivets welding etc. including dismembering and stacking within 50mt. lead. | 410.00 | Kg |  |  |
| 3 | Dismantling 80mm M.S Seamless existing pipes including excavating and refilling trenches after taking out the pipes manually. Stacking of pipes at site within 50mt lead. | 42.00 | meter |  |  |
| 4 | Demolishing cement concrete in existing foundation manually including disposal of material with in 50mt. lead. | 1.80 | Cu .m |  |  |
| 5 | Earth work Excavating holes up to 0.5 cu.m in cement concrete flooring laid with sub grade underneath including getting out the excavated malba stacking at desired location & preparing the pit for column foundation i/c ramming as desired. | 24 No’s | Job work / each |  |  |
| 6 | Providing and laying in position specified grade of cement concrete excluding the cost of centering & shuttering . 1)1:1.5:3 (1 cement :1.5 coarse sand : 3 graded stone aggregate 20mm nominal size ) | 8.0 | Cu.m |  |  |
| 7 | Steel work in built up tubular trusses including cutting hoisting fixing in position and applying a priming coat of approved steel primer welded and bolted including special shaped washers etc. complete (Hot finished welded type tubes.) | 620.00 | kg |  |  |
| 8 | Structural steel work riveted, bolted or welded in built up section trusses and framed work including cutting hosting fixing in position and applying a priming coat of approved steel primer all complete. | 400.00 | kg |  |  |
| 9 | Re-using old MS pipes in tubular-truss after connecting MS plates 10mm thick and joining new pipes with symmetrical connecting plate. Both the plates shall further be welded together to attain fullstrength. The rate includes the cost of 2 no. plates size 200 x 200mm. | 24.00 | nos. |  |  |
| 10 | Providing and fixing 40x5mm GI windties over the eaves of the fiber glass reinforced plastic sheets duly tightened with the J or L hooks after drilling suitable size holes. | 100.00 | R/meter |  |  |
| 11 | Providing and fixing UV stabilized fibre glass reinforced plastic sheet roofing up to any pitch including fixing with polymer coated J or L hooks bolts and nuts 8mm dia. G.I plain and bitumen washer complete but excluding the cost of purline rafters and trusses etc. The sheet shall be manufactured out of 2400 TEX bonded rovigs incorporating minimum 0.3% ultra violet stabilizer in resin system under approx 2400 psi and heat cured .They shall be of uniform pigment and thickness without air pockets and shall confirm to IS 10192 & IS 12866. The sheets shall be opaque or translucent, clear or pigmented textured or smooth as specified of brands Rooffit/ Fibre ways or equivalent (1) 2mm thick corrugated sheet. (2) 2mm thick plain sheet. | 185.00 50.00 | Sq.m Sq.m |  |  |
| 12 | Brick work Brick work with F.P.S Brick of class designation 75 in foundation and plinth in Cement mortar 1:4 (1 cement :4 coarse sand ) | 2.00 | Cu.m |  |  |
| 13 | Plastering with 12mm cement plaster of mix 1:4 (1 cement: 4 coarse sand) | 40.00 | Sq.m |  |  |
| 14 | Plastering with 15mm cement plaster of mix 1:4 (1 cement: 4 coarse sand) | 40.00 | Sq.m |  |  |
| 15 | Centering and shuttering Centering and shuttering including strutting, propping etc. and removal of form work. | 30.00 | Sq.m |  |  |
| 16 | Distempering with 1st quality acrylic washable distemper (ready mixed) of approved manufacturer and of required shade and colour complete. As per manufacturer’s specification. | 72.00 | Sq.m |  |  |
| 17 | Finishing walls with water proofing cement paint of required shade. New work (Two or more coats applied @ 3.84kg/10 sqm.) | 72.00 | Sq.m |  |  |
| 18 | Painting C.I pipes and fitting with synthetic enamel paint of approved brand. 50 mm diameter pipes | 100.00 | R/meter |  |  |
| 19 | Painting on railing / trusses with synthetic enamel paint of approved brand and manufacture of required colors to give an even shade. Two or more coats on new work | 150.00 | Sq.m |  |  |

Gross Value: