Gram :  CENBOSEC, Delhi – 92 	                                                                               Phone: 22509256-59
E-Mail:  cbsedli@nda.vsnl.net.in 	                                                                                                   Fax:    22515826	
website: www.cbse.nic.in

CENTRAL BOARD OF SECONDARY EDUCATION 
(An Autonomous Organisation under the Union Ministry of Human Resource Development Govt. of India)

“SHIKSHA KENDRA”, 2, COMMUNITY CENTRE, PREET VIHAR, DELHI – 110092

F-1/119/ Main./2010/                                                                                          20.04.2010

……………………………

……………………………

……………………………

……………………………

Sub.:	Limited Tender for Reinforcement of roof slabs in LIG/MIG flats at Brij Vihar, Ghaziabad

Sir,

The Board intends to get the reinforcement of roof slabs in LIG/MIG Flats at Brij Vihar through specialised agency which must have executed similar works earlier. The rates are to be quoted on the prescribed format. The agencies willing to submit tenders are requested to visit the said flats before filling up the tender so that exact quantum of work is assessed. The tender complete in all respect must be submitted latest by 07/05/2010 upto 1:00 p.m. and dropped in the Tender-Box placed at Ground Floor near Reception Counter, CBSE HQ Building, Preet Vihar, Delhi-110092. Since the work is specialised, the agency shall be required to submit an affidavit ensuring five years guarantee for the executed work.

Incomplete and conditional quotations shall be summarily rejected.

Yours faithfully

(S.K. SHARMA)

SR. ENGINEER (ESTATE)

SCHEDULE OF RATE

| Sl. No. | Description of Item | Qty | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Dismantling of loose / weak cement concrete, cutting the rusted reinforcement and replacement in the new steel bars duly welded. The old reinforcement shall be exposed & chemically treated with 2 coats of bipolar corrosion inhibitor (EPCO KP. 100) & FEOVERT. Subsequently, the ceiling shall be repaired through an admixture of stone aggregate maximum (10mm), cement, coarse sand and ASTM C-1059-86 Type II (Epoxy. latex additive) in 2/3 layers as per site requirement. Note: - Reinforcement shall be paid separately. | 165 (approx) | Sq-m |  |  |
| 2. | Reinforcement for R.C.C. works including straightening, cutting, bending, placing, binding etc. all complete. (mild steel and medium tensile steel bars.) | 2000 (approx) | k.g |  |  |

Gross Value:

Signature

Prop./Manager

Tel. No.

Mob. No.

Terms & Conditions

- The work shall be executed as per the approved specifications.

- The work is time bound, hence time is the essence of the contract.

- The work is to be completed within 3 months from 7th day of award of work.

- In one premises, the work must be completed within 12 days.

- No T & P shall be provided by the Board.

- Scaffolding shall be arranged by the Contractor.

- The work shall be executed under the strict supervision of the Board’s J.E.

- The measurements shall be recorded jointly.

- The agreement certifying five years life shall be given on Rs.10/- stamp paper duly attested by the Notary Public.

- Potable Water shall only be used.

- In no case, ground water shall be used.

- In case of delay a penalty @ 1% per week shall be levied.

- In case of poor workmanship, the Board shall have the right to rescind the contract and get the work executed through any other agency at the risk & cost of the defaulting contractor.

- The contractor shall be required to provide adequate safety for its workers and the Board shall not be accountable to any kind of injury/ accident at site.

- A sum of Rs.30000/- shall be retained as security for a period of 6 months as defect liability. In case no defect is observed the same shall be released.

Accepted by me

Signature

Prop./Manager

Tel. No.

Mob. No.