CENTRAL BOARD OF SECONDARY EDUCATION

SHIKSHA KENDRA, 2, COMMUNITY CENTRE

PREET VIHAR,   DELHI-1100092

TENDER NOTICE

Sealed tenders under Two-Bid System are invited from reputed agencies which must have executed minimum two similar works each costing Rs. 6.0 lakh or more in reputed organisations during the last two years.

- Name of work	:    	P.I. & C of CCTV System at RO Bldg., I. P. Extn. P. P. Ganj,

& HQ Bldg., Preet Vihar, Delhi-110092

- Estimated Cost	:	Rs. 8.50 lakh

- EMD	:	Rs.20000/- payable in f/o the Secretary, CBSE through DD/BD

- Cost of Tender	: 	Rs.500/-  (Non-refundable)

- Sale of Tender	:	upto 25.03.08  through Syndicate Bank, CBSE, Preet Vihar

Delhi-92 on all working days between 10 a.m. to 1.00 p.m.

- Last date for sub-	:	26.03.08  upto 2.00 p.m.

mission of Tenders

- Opening of Tech.-Bids	:	26.03.08   at 2.30 p.m.

Tenders can also be down-loaded through the Board’s website www.cbse.nic.in .   In case of down-loading Rs. 500/- shall have to be deposited in the aforesaid bank as cost of the tender-form  &  receipt enclosed.  EMD must be placed in the Technical-Bid envelope.  Technical-Bid & Price-Bid envelopes be sealed separately & then placed in a bigger envelope superscribed “CCTV Work”.  The tender should be dropped in the tender box placed near Reception Counter at Ground Floor, HQ Bldg. Preet Vihar, Delhi-92.  The tender can also be sent through mail/registered post but must reach timely.  Incomplete & conditional tenders shall be summarily rejected.  The Secretary, CBSE reserves the right to reject any or all the tenders without assigning any reason thereof.

JT. SECRETARY ( A & L)

SCH. – A

CENTRAL BOARD OF SECONDARY EDUCATION,

2, COMMUNITY CENTRE, PREET VIHAR,DELHI-92

Tender Form No. ________

Last date of submission :   26.03.08

Upto 2.00 p.m.

Note :		               : Tenderer must read the Instructions

Instructions to the Tenderers     : before filling the particulars in this part.

1. Credentials of the Tenderers

1.1 Name of the Agency  with		_______________________________

Regn. No.

1.2 Office Address and

Tel.Nos.		      			_______________________________

1.3  Name(s) of the Proprieter/Partners         ________________________________

1.4 WCT No.		      			         _____________________________

1.5 PAN No.

( with documentary evidence)	                 _______________________________

1.6 Annual turnover during last three years

(2004-05, 2005-06, 2006-07)

supported with documentary evidence)________________________________________

2. Past Experience (preferably last three years)

with all necessary documentary evidence	    ________________________________

such as copy of work order etc.

| SL. Nos. | Year | Name of the Organization | Cost of the work (Executed ) | Officer Concd. In the Organization with T.No. | Period From To |
| --- | --- | --- | --- | --- | --- |
| 01. | 2005-2006 |  |  |  |  |
| 02. | 2006-2007 |  |  |  |  |
| 03. | 2007-2008 |  |  |  |  |

  - Has the firm been ever debarred/ Black

Listed by any organization ? 			___________________________

If ‘Yes’ the details thereof.

  - The organizational set-up including

Technical infrastructure/staff strength		____________________________

in all the categories.

  - Similar work in hand at Delhi and adjoining 	_____________________________

area like Noida/Gzb/Gurgaon etc.

  - Particulars of Demand Draft paid as

Earnest Money :

Amount     :  Rs. 20,000/-

DD NO.    :  ________________

Issuing Bank with date of issue : _____________________

( Signature of the Tenderer)

With complete address and seal

Tel. No.:__________________

Mobile No.:________________

Place : ____________________

Date : ____________________

CENTRAL BOARD OF SECONDARY EDUCATION

SHIKSHA KENDRA, 2, COMMUNITY CENTRE

PREET VIHAR,   DELHI-1100092

INSTRUCTIONS TO THE TENDERERS

- Incomplete and conditional tenders shall be summarily rejected.

- The work shall be executed in two phases.  In first Phase CCTV work shall be installed at RO Bldg..  On evaluation of the performance of the agency in r/o Phase-I, further orders for Phase-II work shall be considered.

- Rates are to be quoted in words and figures without any cutting/overwriting

- The Short-Listed/Pre-qualified agencies shall be required to give demonstration of the equipments with proposed system. In case the agency fails to report for demonstration of the system, it shall stand disqualified.

- The agency should quote the rates only after visiting the site and proper assessment of work.

- Complete  brochures  be attached with the Tech.-Bid.

- The Tech.-Bids shall be opened on  26.03.08  at 2.30 p.m. in the presence of the tenderers.

- Any additional information required by CBSE in respect of the work experience shall be submitted by the tenderers within three days, failing which the offer shall not be entertained.

- Tender received without EMD of Rs.20,000/- in the form of a Demand Draft shall be summarily rejected.

- In case of Down-loading the tender through the website, the agency shall have to deposit Rs.500/- as cost of tender form in the Syndicate Bank CBSE, Preet Vihar, Delhi-110092 & enclose the receipt.

SCH. – B

Technical specification

- Dome CCTV Camera

Type	Very High Resolution Day & Night Camera

Sensor 	1/3” CCD (Sony Supper HAD CCD Sensor)			Signal System	620 Lines or better 						Video Output	1-Vp-p/75Ω

Sensitivity	0.3 Lux (F 1.2) or better

S/N Ratio	48db or better

Power 	12V±40% (for rough power conditions)

Lens	3mm-10mm Verifocal, Auto iris,

Iris Drive	DC (Must have the IRIS Control for different light condition)

Day & Night	Auto/manual, User Selectable

Back Light Compensation	Auto/manual, User Selectable

White Balance	Auto/manual, Use selectable

PAN	0-300 deg, Manual

Tilt	30-90 deg, Manual

Acceptable brands

Samsung, Pelco, Honeywell, CBC, Sanyo, Panasonic, Advert, Sony or equivalent

- CCTV IR Camera

Type	Very High Resolution IR Camera

Sensor 	1/3” CCD (Sony Supper HAD CCD Sensor)			Signal System	620 Lines or equivalent

Total effective pixels 	≥460K

Video Output	1-Vp-p/75Ω

Sensitivity	0.3 Lux (F 1.2) or better at Day, 0 Lux at Night

S/N Ratio	48db or better

Power 	12V±40% (for rough power conditions)

Lens	4mm fixed (provisions for other lens from 4mm to 12mm)

Day & Night	Auto

Back Light Compensation	Auto or manual

White Balance	Auto or manual

PAN	0-320 deg, Manual

Tilt	30-90 deg, Manual

IR Wavelength	850nm

IR Radiant distance 	50 mtrs

Note: A box CS mounts camera with above specification and a separate IR Illuminator (in hosing or individual unit is also acceptable)

Acceptable brands

Samsung, Pelco, Honeywell, CBC, Sanyo, Panasonic, Advert, Sony or equivalent

- Scanner

Pan Angle 	upto 340 deg.

Pan control 	External Adjustment

Power Source 	AC 220 V±10% (60/50HZ) AC

Power Consumption Pan: 	≤ 5W

Load Rating Pan 	≥ 5 kg

- Digital Video Recorder

Video input	16 channels

Video output				BNC/RCA/VGA

Compression 	H.264/MPEG-4

Recording rate	Min 400fps(PAL)

Recording mode	Manual/scheduled

Hard disk capacity 	500G inbuilt,

Expandability 	Provision for additional hard disks to be inbuilt	Backup 	DVD R/W

Remote operation  	TCP/IP, inbuilt web server

Acceptable brands

Samsung, Honeywell, Affiance, Pelco, GE, Advert, Sanyo, AVTECH, 3R, Hakivision

- Monitor

Type	LCD/TFT

Size	19 inches or bigger

Contrast Ratio	≥700:1 or better

Brightness 	min 300cd/m2

View Angle 	160H/V

Resolution 	1680 X 1050

Acceptable brands

Samsung, Honeywell, LG, Dell, Acer, View Sonic or equivalent

- Video Matrix

Video input	16 Channel

Video input type 	Composite/ RCA/BNC

Remote Expansion panels 	6 Nos with Local IR remote control

Switching 	Auto/manual, selectable

- Line interactive UPS

Capacity 	IKV

Switching time 	≤ 10ms

Input Voltage 	160-270V AC

Output Voltage 	230V± 10%

- Power Supply

Type 	SMPS

Input	230V± 10%

Output 	12± 10%

Amp Rating 	3 Amp

Switching time 	≤ 10ms

- Cable

9. (a) Video cable 				RG-59

9. (b)  Power cable 				2 core 1.5 sqmm, multi strand

9. (c) Data cable 				8 core data cable, 14/38

Acceptable Brands

Finolex, Deltron, Excel, Incol, Plaza

- Conduit & Channels

10. (a) Conduit 				1” PVC Conduit

10. (b) Channel 				1” PVC  Channel

Acceptable makes

Plaza, Excel, or IS make

SCH. – C

Price Bid- Phase-I

RO BUILDING

Sl. No   Discription	Make	Model	Qty	Unit Price         Amount

- Dome CCTV Camera   				       12 No

- CS CCTV IR Camera   						       4 No

- Scanner/Planning Motor						       4 No

- Digital Video Recorder    				       1 No

- Monitor		      						       5 No

- Video Matrix 							       1 No

- Line interactive UPS						       1 No

- Power Supply							       4 No

- Cable 								     (1000 mtrs.)

- Conduit & Channels 						     (250 mtrs.)

- Installation & Commissioning charges

(Including necessary junction boxes,

Termination boxes, Connectors, accessories,

Saddle & spacer etc, including training

To CBSE staff in configuration &

Operation of the system      					     LS

Optional:

AMC for 5 Years (Comprehensive) (% of the cost) 		……….%

Signture of Manager/Proprietor

Seal of the firm

Tel No.

Mobile No.

SCH. – D

Price Bid- Phase-II

HQ BUILDING

Sl. No   Discription	Make	Model	Qty	Unit Price         Amount

- Dome CCTV Camera   				       6 No

- CS CCTV IR Camera   						       3 No

- Scanner/Planning Motor						       3 No

- Digital Video Recorder    				       1 No

- Monitor		      						       4 No

- Video Matrix 							       1 No

- Line interactive UPS						       1 No

- Power Supply							       3 No

- Cable 								     (500 mtrs.)

- Conduit & Channels 						     (150 mtrs.)

- Installation & Commissioning charges

(Including necessary junction boxes,

Termination boxes, Connectors, accessories,

Saddle & spacer etc, including training

To CBSE staff in configuration &

Operation of the system      					     LS

Optional:

AMC for 5 Years (Comprehensive) (% of the cost) 		……….%

Signture of Manager/Proprietor

Seal of the firm

Tel No.

Mobile No.

SCH. – E

Terms and Conditions

- The work must be executed as per the specifications and best Engineering practice.

- Rates must be quoted both in figures & words.

- Cutting/overwriting should be avoided.  In case of any cutting/overwriting, the same must be initialed/authenticated.

- Rates are to be quoted on the prescribed format.

- CBSE reserves the right to deviate the quantity.  Payment shall be made on the basis of the measurements.

- ALL T & P shall be arranged by the agency at their own cost.

- In case of any damage to the structure, the same shall be made good by the agency.

- The rates quoted must be inclusive of all Taxes.

- Since the firms are required to give demonstration of the proposed system, Board does not itself to accept the Lower-bid or to give any reasons for its decisions.

- The agency shall be bound to complete the work within 30 days from the issue of the work order.

- In case of delayed execution a penalty @ 1% per week shall be levied.

- The agency selected for the work shall deposit a performance guarantee equivalent to 10% of the total value of the work. It can be submitted in the form of the Bank Guarantee.

- In case of slow progress & the Board put to any financial loss, the CBSE shall invoke the Bank Guarantee.

- The agency shall submit all the guarantee cards/Brochures to the Engineer-In-Charge.

- All materials brought to site shall be subjected to the approval of the Engineer-In-Charge.  In case of any unapproved material is used, the same shall be removed by the agency at his own expense.

- Comprehensive AMC shall for a period of 5 years shall have to be undertaken by the agency for which separate agreement shall be executed.

- 10% of the basic value of bill shall be retained as defect liability for a period of six months effective from the date of completion.  In case of satisfactory performance,  the same shall be refunded without interest.

- No running payment is permissible however, the final bill would be processed & cleared within 15 days from the date of its submission.

- The equipments /products installed must be guaranteed for a period of one year from the date of completion.

- The safety & security of the equipments/products after its installation shall rest with the Board.

- The complaint if reported  shall be got rectified by the agency within 24 hours failing which a penalty @ Rs. 200/- per day shall be levied.

- In case of any dispute, the Chairman shall have the right to appoint an Arbitrator whose decision shall be final & binding on both the parties.

( Signature of the Agency)

With complete address and seal

Add.__________________

____________________

Tel. No.:__________________

Mobile No.:________________