dsUnzh; ek/;fed f’k{kk cksMZ

f’k{kk dsUnz] 2] lkeqnkf;d dsUnz]

izhr fogkj]fnYyh &110092

fufonk lwpuk

izfrf"Br ,tsafl;ksa ls eqgjcan fufonk,a vkeaf=r gSa ftUgsa fiNys rhu o"kksZ ds nkSjku blh izdkj ls de ls de nks dk;Z izR;sd dh ykxr 6-0 yk[k :i;s vFkok vf/kd gks dk djus dk vuqHko gks A

1-	dk;Z dk uke			%	lhch,lbZ c`t fogkj] xkft;kckn ds Q~ySVksa

ij ckgjh ejEer vkSj ifjlTtk dk;Z

2-	vuqekfur O;;			%	1054500@&:0

3-	c;kuk jkf’k			%	25]000@& :0 dh jkf’k fMek.M MªkQ~V@

cSad&MªkQ~V ds :i  esa lfpo]lhch,lbZ ds

i{k esa ns; gks A

4-	fufonk dh fcdzh		%	flafMdsV cSad]lhch,lbZ] izhr fogkj]

fnYyh&92 ls fnukad 28-04-08 rd

lHkh dk;Zfnolksa esa iwokZg~u 10-00 cts ls

vijkg~u 1-00 cts rd

5-	fufonk tek djus dh 	%	29-04-08 vijkg~u 2-00 cts rd

vafre frfFk

6-	fufonk [kqyus dh frfFk	%	29-04-08 dks vijkg~u 2-30 cts

fufonk,a lhch,lbZ dh osclkbV www.cbse.nic.in ls Hkh MkmuyksM dh tk ldrh gSA  fufonk,a] eq[;ky; Hkou] izhr fogkj] fnYyh&92 ds Hkwry ij Lokxr iVy ds lehi j[kh fufonk&isfVdk esa Mkyh tk,a A  viw.kZ vkSj l’krZ fufonk,a ljljh rkSj ij jn~n dj nh tk,axh A  fcuk dksbZ dkj.k crk,a fdlh vFkok lHkh fufonkvksa dks jn~n djus dk vf/kdkj lfpo] lhch,lbZ ds ikl lqjf{kr gS A

la;qDr lfpo¼iz’kk- ,oa fof/k½

CENTRAL BOARD OF SECONDARY EDUCATION

SHIKSHA KENDRA, 2, COMMUNITY CENTRE

PREET VIHAR,   DELHI-1100092

TENDER NOTICE

Sealed tenders are invited from reputed agencies which must have executed minimum two similar works each costing Rs.6.0 lakh or more during the last three years.

- Name of work	:   External Repairs/finishing Work at CBSE Flats,  Brij Vihar, Gzb.

- Estimated Cost	:	Rs. 1054500/-

- EMD	:	Rs.25000/- payable in f/o Secretary, CBSE through DD/BD

- Sale of Tender	:	upto 28.04.08 through Syndicate Bank, CBSE, Preet Vihar

Delhi-92 on all working days between 10 a.m. to 1.00 p.m.

- Last date for sub-	:	29.04.08  upto 2.00 p.m.

mission of Tenders

- Opening of Tenders	:	29.04.08  at 2.30 p.m.

Tenders can also be down-loaded through the CBSE website www.cbse.nic.in  The tender should be dropped in the tender box placed near Reception Counter at Ground Floor, HQ Bldg. Preet Vihar, Delhi-92.  Incomplete & conditional tenders shall be summarily rejected.  The Secretary, CBSE reserves the right to reject any or all the tenders without assigning any reason thereof.

JT. SECRETARY ( A & L)

SCHDULE OF WORK

Name of Work :  External finishing to LIG Type II & MIG flats of CBSE at Brij Vihar, Gzb.

| Sl. No. | Description of Item | Qty | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
|  | 12 mm cement plaster of mix 1: 4 (1 cement : 4 coarse sand) | sqm | 1000 |  |  |
|  | 15 mm cement plaster (1 cement : 4 coarse sand) | sqm | 500 |  |  |
|  | Painting (one or more coats) on rain water, soil, waste and vent pipes and fittings with black anticorrosive bitumastic paint approved brand & manufacture on old work. (100 mm dia pipes) | metre | 1520 |  |  |
|  | Finishing walls with Acrylic Smooth exterior pant “Trump” of M/s Snowcem India Ltd. or equivalent of required shade |  |  |  |  |
| 4.1 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and i/c base coat of water proofing cement paint Snowcem Plus or equivalent applied @ 2.20 kg/10 sqm. | sqm | 2000 |  |  |
| 4.2 | Old work (Two or more coat applied @ 1.67 ltr/10 sqm) on existing cement paint surface. | sqm | 13700 |  |  |
| 5 | Repairs to plaster of thickness 12 mm to 20mm in patches of area 2.5 sq metres and under i/c cutting the patch in proper shape and preparing and plastering the surface of the walls complete i/c disposal of rubbish to the dumping ground within 50 metres lead With cement mortar 1:4 (1 cement : 4 coarse sand) | sqm | 500 |  |  |
| 6. | Painting (one or more coats) on rain water, soil, waste and vent pipes and fittings with black anticorrosive bitumastic paint of approved brand mand manufacture on old work: 75 mm diameter pipes. | metre | 1020 |  |  |
| 7 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster i/c disposal of rubbish to the dumping ground within 50 metres lead. | sqm. | 2000 |  |  |
| 8 | Repainting G.I. Pipes and fittings with synthetic enamel white paint of approved brand. |  |  |  |  |
| 8.1 | 15 mm diameter pipe | metre | 4900 |  |  |
| 8.2 | 20 mm diameter pipe | metre | 500 |  |  |
| 9 | P&F M.S. Gates fabricated out of 65 mm dia M.S. pipe (medium class) frame-work and inner area provided with Hard drawn Steel fabric 75x25 mm 10 s.w.g. welded to framework with M.S. flat size 25x4 mm on perimeter. The gate is to be provided with 4 no. wheels in bottom for sliding movement i/c providing M.S. Channel (75mmx50 mm (medium) embedded in cement concrete 1:2:4 with supporting M.S. channels top and stopper. The entire M.S framework shall be first given two coats with primer & then painted with Synthetic Enamel Paint of approved brand. | sqm | 18 |  |  |

CENTRAL BOARD OF SECONDARY EDUCATION

SHIKSHA KENDRA, 2, COMMUNITY CENTRE

PREET VIHAR,   DELHI-1100092

INSTRUCTIONS TO THE TENDERERS

- Incomplete and conditional tenders shall be summarily rejected.

- Rates are to be quoted in words and figures without any cutting/overwriting

- Analysis of rates must be attached with the tender.

- The agency should quote the rates only after visiting the site and proper assessment of work.

- Prescribed enclosures be attached with the Tender.

- The tenderers shall be opened on 29.04.08 at 2.30 p.m. in the presence of the tenderers.

- Any additional information required by CBSE in respect of the work experience shall be submitted by the tenderers within three days, failing which the offer shall not be entertained.

- Tender received without EMD of Rs.25,000/- shall be summarily rejected.

Name of work: External finishing to LIG Type II & MIG flats of CBSE at Brij Vihar, Gzb.

Terms and Conditions

- The work should be executed as per CPWD specifications and as per direction’s of Engineer-In-Charge.

- The Completion time would be 90 days.

- In case of delay, a penalty of 1% per week should be deducted.

- The measurement shall be done jointly by the Contractor and the Board’s Engineer.

- All T & P shall be arranged by the Contractor.

- Hindrance Register shall be maintained at site.

- Instructions given in Site Order Book would be followed immediately.

- Only one running payment would be considered after 40% completion of work and subsequently thereafter final bill would be paid within 30 days after submission of Bill by the Contractor.

- 10% of the bill shall be deducted as defect liability and shall be released after six months.

- 10% deviation in quantities would be permitted.

- Extra-item if any would be paid on analysed Market rates but the work must be executed with prior approval of Engineer-In-Charge.

- The materials to be used must be got approved from the Engineer-In-Charge before installation/use.

- Potable water shall only be used at site work and arranged ownself by the contractor.  Nothing extra shall be paid on this account.

- In case of any dispute, the Arbitrator shall be appointed by the Chairman and his decision shall be binding.

( Signature of the Agency)

With complete address and seal

Add.__________________

____________________

Tel. No.:__________________

Mobile No.:________________