AE/Estates/2008/                                                                                                 21.07.2008

_____________________________

_____________________________

_____________________________

_____________________________

Sub: Limited Tender for O&M Water Supply i/c Dewatering System

Sir,

The CBSE intends to invite rates from the reputed agencies for O&M of Water Supply i/c Dewatering System in r/o HQ Building, Preet Vihar, Delhi. The rates are to be submitted on the prescribed format alongwith an EMD of Rs. 5000/- payable in favour of the Secretary CBSE either through BD/DD/Cash.  The tender must be submitted in a sealed envelope superscribed “O&M of Water Supply i/c Dewatering System” latest by 04.08.08 upto 2.00 p.m.  and the same shall be opened at 2.30 p.m. Tenders must be dropped in the Tender Box placed near Reception Counter at Ground Floor.  Incomplete & conditional tenders shall be summarily rejected.

Yours faithfully,

(S. K. SHARMA )

ASSTT. ENGR. (ESTATE)

CENTRAL BOARD OF SECONDARY EDUCATION

2, COMMUNITY CENTRE, PREET VIHAR,DELHI-92.

Estt./Work Details

Last date: 04.08.2008

Upto 2.00 P.M.

Name of work 	:   Tender for O & M water Supply i/c Dewatering System

Locations           :   H.Q.Bldg.at Preet Vihar,  Delhi

- About the Agency

  - Name of the Agency:____________________________________

  - Office Address:         ____________________________________

____________________________________

1.3 Tel.No.        :             ____________________________________

1.4 Email Id      :             ____________________________________

1.5 Licence No. & Reg.Details:_______________________________

____________________________________

1.6 P.F.A/c No. :            _____________________________________

1.7 PAN NO.    :              ____________________________________

1.8 Service Tax

Regd.Certificate :       ____________________________________

1.9 Annual turnover last three years:____________________________

- Experience:

  - Total experience in year  : ________________________________

2.2 Contracts of approx. equivalent value executed in the past 05 years.

| Sl.No. | Period From To | Name of the organization | Cost of the work executed | Contact person with Tel.No. |
| --- | --- | --- | --- | --- |
| 01. |  |  |  |  |
| 02. |  |  |  |  |
| 03. |  |  |  |  |
| 04. |  |  |  |  |
| 05. |  |  |  |  |

- Manpower details

3.1 No. of Supervisors: ____________________________________________________

3.2 No. of staff:             ____________________________________________________

Note: Please attach the scan copies of :

- Licence no. and Regn.No.

- P.F A/c No.

- PAN No.

- Service Tax Regd. No.

(Authorized Signatory)

Price-Bid

SCHEDULE OF WORK

Name of work: O & M of Water Supply system i/c Dewatering System installed at CBSE(H.Q.) Bldg., Preet Vihar, Delhi.

| SL.No. | Description of item | Rates per month in rupees |
| --- | --- | --- |
| 01. | A) Operation & Maintenance of 2 Nos. of Water Supply Pump Sets of capacity 20/25 HP with 90 Mtr. Head and one pump set of capacity 5 H.P. with 30 mtrs. head from 8.00 A.M. daily on all the six days of the week. B) Maintenance of Dewatering pumps (3 nos.) installed in Basements and operation as & when required. Rates are inclusive of all labour charges, spares parts and other materials i/c T& P. |  |

NOTE: It is essential to mention that in the absence of the Municipal water supply, the agency shall arrange water tankers and shall get the water coolers filled up.  Charges paid for water tankers shall be reimbursed by the Board.

Signature of Prop./Manager

Of the firm with Seal

Mobile No.:

Tel.No.:

TERMS & CONDITIONS

- The agency shall provide qualified Operator having minimum 3 years working experience for operation and maintenance of the water supply system from 8.00 a.m. to 8.00 p.m and ensure uninterrupted water supply.

- The Operator shall report to JE/AE daily water position/stock.

- The Contractor shall keep all the equipments/machinery and control panels in perfect working condition.

- Dewatering pumps shall be checked daily.

- The Operator shall not tamper any other installations of the Board.

- The Operator shall check daily the leakage/defect if any in the water supply system and report the same promptly to the JE/AE.

- The Contractor shall be responsible for storage of sufficient water in the U/G & O.H. Tanks.

- The Operator shall maintain a Log-Book in r/o all the pumps.

- In case of unauthorized absence, the Board shall recover Rs.200/- per day.

- For extra duty hours OTA shall be payable as per normal rates.

- Operator supplied by the agency should be polite, courteous, well-behaved and honest.

- The entire responsibility of the person engaged shall be Contractor.

- The pump room shall be kept neat and clean.

- Statutory taxes i.e. Income.Tax, W.C.T. shall be respectively deducted from the monthly bill.

- In case of any dispute the Chairman, CBSE shall be the sole Arbitrator and his decision shall be ‘Final’ and binding on both the parties.

- The Contractor shall submit the bio-data and details of the man power supplied to the Board.

- The contractor shall have to deposit an E.M.D. of Rs.15000/- as Security Deposit after award of work.

ACCEPTED BY ME

(PROP./MANAGER)

ADDRESS